Massachusetts Institute of Technology

Department of Earth, Atmospheric, and Planetary Sciences

12s22 Hands-On Astronomy, IAP 2002

Handout 8 /week of 2002 January 14

#### CCD User’s Guide

SBIG ST7E CCD camera and Macintosh iBook control computer with Meade flip mirror assembly mounted on LX200

# Contents

Contents	1

CCD Kit Checklist	1

Items inside the case	1

Equipment Setup Procedure	2

Focusing	4

Focus Procedure	4

Observing Information	6

Target Acquisition	6

Imaging	6

Feeding Your Observing Notebook	8

Calibration Frames	8

What for?	8

How many?	8

What kind?	8

Packing Up	8

# CCD Kit Checklist

Use the following checklists to

- Alert the instructor or TA about missing pieces before beginning a night’s observing and

- Ensure that the kit is complete for use by your classmates next time.

## Items inside the case

- SBIG ST7E CCD camera

- Camera power supply (large one with cords out either end)

- Parallel-to-SCSI converter box (small black box)

- Converter box power supply (small one)

- Parallel cable (long tan one)

- SCSI cable (short gray one)

- SCSI-to-USB adapter/cable (short white one)

- Meade flip mirror

# Equipment Setup Procedure

- Setup and align the telescope.

- Attach flip mirror to visual back (do not attach camera yet)

- Connect camera to SCSI box with parallel cable (long tan one)

- Plug power cord into camera (but do not plug the other end to power yet)

- Attach camera to telescope (do not attach the camera to the telescope before all cords have been plugged into the camera or you risk ruining your telescope alignment).

- Mount and adjust counterweights on telescope

- Connect SCSI box to USB adapter cable (short white one) with SCSI cable (short gray one)

- Plug in and power SCSI box

- Plug in camera power cord to power (this powers the camera, there is no switch)

- Check that computer is on, not sleeping, and plugged in (DO NOT ATTEMPT to control camera with computer using battery power)

- Connect USB cable to computer

- Start CCDOps software (double click CCDOps icon on computer desktop).  You should see a window similar to that below:

If you see Not found next to Link: in the lower left corner of the above window, check the following:

- Under the Misc menu, select Graphics/Comm Setup…

- The following window will be displayed

- Check that SCSI is the selected Port (it is the third symbol) and click OK

- Now under the Camera menu, select Establish COM Link

- Under the Camera menu, select Setup…  The following window will pop up:

Set the Temperature regulation to Active. The Setpoint should be about 30C below ambient. Set Reuse dark frames to Yes.  After you gain some experience with CCD imaging and what calibration frames you will need for a nights worth of imaging you will want to turn this option off.

A word about which resolution mode to run in.  In High resolution mode the camera is configured for the smallest pixels and the highest resolution.  In Low resolution mode, pixels are binned together in 3x3 boxes to produce the largest effective pixels and thus the lowest resolution.  This is results in smaller data files and thus faster download times from the camera to the computer.

| Resolution | Binning | Approx. Saturation Level |
| --- | --- | --- |
| High | None | 40,000 |
| Medium | 2x2 | 65,000 |
| Low | 3x3 | 65,000 |

Once you press okay the camera will begin to cool and you should see the temperature begin to drop.  It will stabilize in a short time, you should see the % next to the temperature value drop below 100%. You want to let the temperature stabilize before you focus or take data. If the percentage does not drop below 100% in 10 minutes, you should raise your set point.  Monitor the percentage throughout the night, you can make it lower as the ambient temperature drops to reduce thermal noise.

# Focusing

In order to obtain the best possible data from your image, you must pay some attention to getting the best focus possible. Unlike focusing when viewing through an eyepiece, when you focus the CCD camera you can’t directly observe the image to determine its quality. Thus it may take a little practice to get the knack of dealing with the display because of the time lag between making a focus adjustment and being able to see its effect on the display screen.  You can reduce this delay by choosing a focus star that is bright enough to be well exposed with only a short (~0.1 sec) integration time and also by only digitizing the small part of the image that contains the star.

## Focus Procedure

- Select a relatively bright star (+2.5 to +3.5) that is well above the horizon (that way you are looking through less atmosphere, less seeing or scintillation problems closer to the zenith).  You want something that is bright enough to focus with in a short time, but dim enough not to saturate the detector (see approximate saturation counts in table on previous page).

- With the flip-mirror in the "visual" position, acquire the star in center of the FOV and do a preliminary focus by eye in the acquisition eyepiece.  The focus of the CCD will be quite a bit different from this focus so this does not need to be done carefully…its just to get you in the right ballpark.

- Now, flip the mirror so that the light goes to the CCD rather than your eye. Under the  Camera menu, select Focus… to bring up the focus control window (example shown below). The exposure time is measured in seconds. Change the exposure time to something short, like 0.1. There are three options under frame size, Full, Planet, or Dim Choose Full to begin with so you get the entire image and can figure out where your star is located.  Choose Manual for the  Update Mode.  This allows you to tell it when to take and exposure manually.  Automatic will simply keep taking exposure after exposure until you tell it to stop. Click ok -- the computer will tell you the image is being taken and then displayed.

- The focus mode displays the image as well as the peak value in brightness of the brightest object in the FOV.  Make sure the star is in the FOV and check for saturation and adjust exposure time or find another dimmer if necessary.  Make sure to record the exposure time in your notebook!

- After you get your first image, you can significantly shorten your download time by using Planet mode.  It will take a full size image and then ask you to move a box (in both placement and size) to the part of the image you want to download. Click on the box and move it to where your star is located. Then press Resume. Again it will take a image, but this time only of the small area you have selected.

- Now the general idea is to adjust the focus knob on the telescope, take an image, inspect it and iterate on this until you achieve the best focus possible.  It is best to start with fairly rough adjustments in one direction (say 1/2 turns of the focus knob).  If the focus gets worse, then go in the other direction.  Go past a good focus and then come back.  A sufficiently out-of-focus image will appear as a "doughnut" shape owing to the secondary mirror obstruction of this Schmidt-Cassegrain design of telescope.  Adjust the focus knob so as to maximize the peak brightness value (without saturation) and minimize the size of the star image.  If saturation occurs you will need to choose a dimmer star if you can’t decrease the exposure time enough prevent saturation.  The peak brightness value can vary by 30% or so due to seeing variations so when you are getting close to good focus you should take several images before deciding whether you need to adjust further.

- When you get close to good focus, it may help to use the Automatic Update Mode so that the system will continually take images until you tell it to stop.

- Once you are happy with the focus in the CCD camera, adjust the position of the eyepiece in its seat in the flip-mirror.  To do this, first flip the mirror back to the “visual postion”.  Then loosen the set screw for the eyepiece and slide the eyepiece in and out of the flip mirror seat until what you see in the eyepiece looks focused.  Do not adjust the focus knob after you have set it for the CCD.

# Observing Information

## Target Acquisition

Now you are ready to acquire your target and take some data!  Remember that the view through the eyepiece is left-right reversed, because the flip mirror has an internal diagonal mirror.  Sometimes it may be helpful to use the Dim Focus Mode until you have found and centered your target in the CCD FOV.  This is a full chip 3x3 binned mode which allows fast downloads making the setup go a bit faster.

## Imaging

1.  Once you have acquired your target, dismiss the focus window.  Under the Camera menu, select the Grab… command for taking individual images.  The window below will pop up.  Set your exposure time and choose your image size, full, half, or quarter of the CCD array.  When you first start imaging, you can choose Also for Dark frame.  This will take a dark frame each time you take an image and subtract it before displaying it.  As you get more experienced, it will become more efficient to take your dark frames at the beginning or end of your imaging session (see the Calibration section below for more info).

2. Under the Edit menu, you can select Show icon bar to provide shortcuts to some common commands:

You may find this useful.

3. Saving an Image:

Use the File/Save As command, rather than Save. This is a safeguard so you don't overwrite an image.  Use the compressed or uncompressed file format (if you choose another format CCDOps will not be able to open this file).

Create a folder in the data files directory on the machine with your name. Inside this folder, create a folder with the date. Inside this you can save your images. Make sure you choose a useful name for each image and create a paper log file with the pertinent information about the image.

Example directory path:

Data Files:AndyR:20020110:

For example an image name might be:

date.imagenumber.sb(YYMMDD.XXX.sb) or some other descriptive title like: Saturn1.sb (the sb stands for SBIG image format which is the only format the CCDOps can read)

4. Additional things to be aware of:

- While observing, keep an eye on the size of your stellar images. If they seem to have gotten blobbier over time, then either the focus has changed, the seeing has deteriorated, or both.

- Try to keep your target away from the edge of the array.

- As you work through your observing program, be aware of and check frequently for possible over-exposure.

- Be very careful to check what you have entered for your exposure time. At this point, we don't know the outcome of aborting an integration process. If you want to start a 60-sec exposure and accidentally type in 600-sec you may have to wait a bit for the longer exposure to finish. Whenever you enter a new exposure time, double-check for typos before hitting ok or <return>!

- Check the position of the flip mirror, especially before taking a long exposure.  If you can see through the eyepiece, the flip mirror is not lined up with the CCD.

## Feeding Your Observing Notebook

Just as you did for visual observing, you need to take sufficient notes for each image as well as record general information about the conditions.

For each data image record the following:  Number in image sequence, time, object,  and exposure time

For darks:  exposure time is sufficient

# Calibration Frames

## What for?

## How many?

# What kind?

# Packing Up

When you are finished for the evening:

- Quit CCDOps (if it asks you to deactivate the temperature control, say yes)

- Unplug USB cable from computer

- Unplug camera from power (do not remove any cables from the camera just yet)

- Power off the SCSI converter box

- Remove the camera from the flip mirror

- Remove flip mirror and counterweights from telescope

- Unplug all remaining cables

- Carefully store all equipment in the case the way you found it

Use the kit checklist to make sure you still have everything you started with (check around the ground nearby, your pockets, and nearby telescope kits if necessary) and that you haven’t inherited extra parts from someone else’s kit.