22.058, Principles of Medical Imaging

Fall 2002

Homework #5

Due Tuesday November 5th

________________________________________________________________________

You are given a laminar structure of two materials with different, known, linear attenuation coefficients and a known thickness of the outer layers.  The task is to measure the thickness of the inner layer precisely by observing the X-Ray attenuation.

a.  What is the geometry of the measurement, assume that you have a X-Ray tube as the source.

b.  In order to determine the width of the inner layer to within 1 µm how many counts do you need to detect?

c.  Assuming that the detector efficiency is 1, how many photons must strike the sample to obtain this number of counts?

d.  How would scatter influence the measurement?  Explain completely how you would include scatter in your analysis.

e.  How would you change the experiment if the outer layer thickness was not known?