# Bio-Plex Multiplex Cytokine Assay Protocol Outline

For full instructions see BioPlex Binder or the protocol online at BioRad.com

# Bring all buffers and diluents to room temp prior to use.  Turn on the Bio-Plex instrument at least 40 minutes prior to plate reading.  The beginning of the detection antibody step is a good time!

# PREPARE STANDARDS

Recommend using the standard (low) PMT setting and a standard curve starting at the cytokine value given on the insert for tissue culture supernatants.  A standard curve using the high PMT setting and starting at a 10-fold lower concentration of cytokine is recommended for serum, or plasma samples (see below)

Standard Curve For Use On Standard (Low) PMT Setting

1) Reconstitute standard by adding 500 l of media, or standard diluent to the standard vial.

a) Vortex gently for 5 sec.

b) Incubate on ice for 20-30 min.

2) Prepare a 4-fold serial dilution as shown. Unless stated in kit, Standard 1 will be 32,000 pg/mL.

REMEMBER: The calculated concentrations of your samples will only be accurate, if the standards are diluted in the SAME media as the one found in your samples.

Tissue culture supernatants-use the same tissue culture media that was utilized to grow your cells.

Serum, or plasma samples-use the STANDARD DILUENT from the species-specific serum diluent kit. Warm the diluent bottle at 37ºC if there is any precipitate.

Standard Curve For Use On High PMT Setting (Formerly 0.2-3,200 pg/ml Standard Range)

1) Reconstitute standard by adding 500 l of media, or standard diluent to the standard vial.

a) Vortex gently for 5 sec.

b) Incubate on ice for 20-30 min.

2) Prepare a 4-fold serial dilution as shown. Unless stated in kit, Standard 1 will be 3,200 pg/mL.

REMEMBER: The calculated concentrations of your samples will only be accurate, if the standards are diluted in the SAME media as the one found in your samples.

Tissue culture supernatants-use the same tissue culture media that was utilized to grow your cells.

Serum, or plasma samples-use the STANDARD DILUENT from the species-specific serum diluent kit. Warm the diluent bottle at 37ºC if there is any precipitate.

### PREPARE SAMPLES

- Tissue Culture Supernatants-Cytokine levels in ‘neat’ samples are sometimes above the range of the standard curve. Samples may therefore need to be diluted before assaying. 50 ul sample is added to each well.

- Serum/Plasma- BioRad strongly recommends diluting serum/plasma samples 1:4 in the species–specific serum SAMPLE DILUENT. The sample diluent can be warmed at 37ºC to dissolve precipitated material in the bottom of the bottle. 50 ul DILUTED sample is added to each well.

PREPARE BEADS

- Determine the total number of wells that will be required.

  - As a precaution, add 2 extra wells for every 8 wells actually required.

- Vortex the anti-cytokine bead (25x) stock solution at medium speed for 20 sec.

- Prepare a 25-fold working dilution of the anti-cytokine bead (25x) stock solution in Bio-Plex Assay Buffer A.

  - Document all volume calculations.

  - Protect the beads from light.

  - Keep all bead solutions on ice when not in use.

# ASSAY

- Cover all unneeded wells with plastic adhesive plate sealer.

- Set the vacuum pressure to 2 inches Hg using a standard flat bottom 96-well plate. Check before each vacuum step to prevent damaging filter plate.

- Pre-wet the filter plate with 100 l of Bio-Plex Assay Buffer.

- Vacuum filter.  Blot the bottom of plate after this and every vacuum filtration.

- Add Beads.

  - Vortex the working Bead solution at medium speed for 20 sec and add 50 l to each well.

- Vacuum filter.

- Filter wash 2X with 100 l of Bio-Plex Wash Buffer.

- Add standards.

  - Vortex for 5 sec and immediately add 50 l to the appropriate wells.

  - Remember to also include the appropriate blanks.

- Add samples.

  - Vortex for 5 sec and immediately add 50 l to the appropriate wells.

- Cover the wells with plastic adhesive plate sealer, and blot the bottom of the plate.

- Cover with foil and incubate for 30 min at room temperature with shaking.

  - Slowly ramp up to 1,100 rpm and shake at high speed for 30 sec

  - Reduce speed to 300 rpm for the remainder of incubation

PREPARE DETECTION ANTIBODY (DURING PRECEEDING INCUBATION AND 10 MIN PRIOR TO USE)

- Determine the total number of well that will be required.

  - As a precaution, add 2 extra wells for every 8 wells actually required.

  - Gently vortex the multiplex detection antibody stock solution.

- *Note: the concentration of the detection antibody stock solution will vary depending on the number of targets and the species under investigation. Please check the label on the tube for the exact concentration of the stock mixture. The following is only intended as a rough guide.

    - single analytes-the detection antibody is usually supplied as a 100x stock solution.

    - 2-9 analytes-the detection antibody mixture is typically supplied as a 50x stock solution (human and mouse), or a 25x stock solution (rat).

    - 10–19 analytes-the detection antibody mixture is usually supplied as a 25x stock solution (human and mouse).

    - 20, or more analytes-the detection antibody mixture is usually supplied as a 10x stock solution (human and mouse).

- Prepare the appropriate working dilution of the detection antibody stock solution in Bio-Plex Detection Antibody Diluent.

  - Document all volume calculations.

  - Protect the antibody from light.

  - Keep all antibody solutions on ice when not in use.

- Remove the plate sealer and filter wash 3X with 100 l of Bio-Plex Wash Buffer.

- Gently vortex the detection antibody and add 25 l to each well.

- Cover the wells with plastic adhesive plate sealer, and blot the bottom of the plate.

- Cover with foil and incubate for 30 min at room temperature with shaking.

  - Slowly ramp up to 1,100 rpm and shake at high speed for 30 sec

  - Reduce speed to 300 rpm for the remainder of incubation

PREPARE STREPTAVIDIN-PE (DURING PRECEEDING INCUBATION AND 10 MIN PRIOR TO USE)

- Determine the total number of wells that will be required.

  - As a precaution, add 2 extra wells for every 8 wells actually required.

- Vigorously vortex the Streptavidin-PE (100x) stock solution.

- Prepare a 100 fold working dilution of the Streptavidin-PE (100x) stock solution in Bio-Plex Assay Buffer.

  - Document all volume calculations.

  - Protect the solution from light.

  - Keep on ice when not in use.

- Remove the plate sealer and filter wash 3X with 100 l of Bio-Plex Wash Buffer.

- Vortex the streptavidin-PE working dilution and add 50 l to each well.

- Cover the wells with plastic adhesive plate sealer, and blot the bottom of the plate.

- Cover with foil and incubate for 10 min at room temperature with shaking.

  - Slowly ramp up to 1,100 rpm and shake at high speed for 30 sec

  - Reduce speed to 300 rpm for the remainder of incubation

- Remove the plate sealer and filter wash 3X with 100 l of Bio-Plex Wash Buffer.

- Resuspend the beads in each well with 125 l of Bio-Plex Assay Buffer.

- Cover the wells with plastic adhesive plate sealer, and thoroughly blot the bottom of the plate.

- Shake the plate at 1,100 rpm for 30 sec – slowly ramp up to this high speed

- Remove the sealer and read the plate.

Note:  Set the Bio-Plex Reader to ready 100 beads/region in a volume of 50 uL

Bio-Plex Multiplex Cytokine Assay Dilution Worksheet

# of required wells ______

# of extra wells      ______ (2 wells for every 8 required wells)

_______ total number of wells for dilution calculations

# Bead Dilution

50 l/well

2 l of anti-cytokine bead (25x) stock solution/well

________ x 2 l = _______ of anti-cytokine bead (25x) stock solution (assay module)

________ x 48 l = ______ of Bio-Plex Assay Buffer A (cytokine reagent kit)

________ x 50 l = ______ total volume

# Detection Antibody Dilution

*Note: The detection antibody solution is provided either as a 100x, 50x, 25x, or 10x concentrate. Please check the label on the tube for this information.  Detection antibodies for premixed panels containing 2 to 9 targets are typically supplied as a 50x (human, or mouse), or 25x (rat) concentrate.  Detection antibodies for premixed panels containing 10-19 targets are normally supplied as a 25x concentrate (human and mouse), whereas detection antibodies for premixed panels containing 20, or more targets are supplied as a 10 x concentrate (human and mouse). Single-plexes are generally supplied as a 100x concentrate.

25 l/well

0.5 l of detection antibody (50x) stock solution/well

________ x 0.5 l = _______ of detection Ab (50x) stock solution (assay module)

________ x 24.5 l = ______ of Bio-Plex Detection Ab Diluent A (cytokine reagent kit)

________ x 25 l = ______ total volume

or

25 l/well

1 l of detection antibody (25x) stock solution/well

________ x 1 l = _______ of detection Ab (25x) stock solution (assay module)

________ x 24 l = ______  of Bio-Plex Detection Ab Diluent A (cytokine reagent kit)

________ x 25 l = ______ total volume

# Streptavidin-PE Dilution

50 l/well

0.5 l of streptavidin-PE (100x) stock solution/well

________ x 0.5 l = _______ of streptavidin-PE (100x) stock solution (cytokine reagent 				kit)

________ x 49.5 l = ______ of Bio-Plex Assay Buffer A (cytokine reagent kit)

________ x 50 l = ______ total volume