Ocean Energy White Paper Rough Draft version #5

Alexandra H. Techet

Jose Oscar Mur-Miranda

Richard Kimball

Erik Dawe

Johanna L. Mathieu

Tadd T. Truscott

Thursday, December 15, 2005

Contents

- Introduction

- Motivation

- Research Opportunities

- Power Specifications

- Past and Present Technologies

- Qualifications / Means (How are we doing this?  What makes us qualified?)

- What is needed? People / Equipment

- Conclusions

Abstract

## Introduction

This project aims to research and design renewable energy devices that harvest electrical energy from ocean currents and waves.  The technology will benefit industrial applications and scientific research.

Ocean currents and waves are an underutilized means of energy production.  For instance, Maine has an energy density of  40 KW/m, which is enough wave energy to produce 1 megawatt of power with just 25 meters of coastline. Similarly, ocean currents in the gulf stream of 5 m2 also provide 40 KW/m.  Less than ?% of the worlds energy production comes from the ocean.  If these sources were utilized, the US could possibly get ???% of its energy. These energy sources can also be used to provide energy for non-traditional power needs (e.g. buoy stations).

Projects like this one provide numerous opportunities for education and research.  Three institutions and their graduate and undergraduates will benefit from this project.  Furthermore, the project will have a strong educational component by offering to employ several graduate and undergraduate students, at MIT, Olin and MMA. The resources of these institutions provide all the necessary tools to conduct the necessary studies. Section xx outlines different applications and extensions of the research that may be pursued by this and other teams using the results of this project.  With only two offshore ocean current harvesters in operation now, there is an enormous need for more research in this field.  Design a more efficient xx is…  Funding fundamental engineering research at universities will directly impact the development of renewable energy.

Add sections pertinent to this

## Motive/Needs/Benefits (Why do this?)

This section will now include:

A picture of the available energy (more detailed than introduction maybe a map).

Then what has been done (past) reference background.

Finally what we can do (research opportunity introduction),

Having to refuel offshore sites requires deep sea travel. Such travels are expensive and dangerous. Self-powered oil platforms allow for remote monitoring while maintaining essential functions. Thus, travel becomes necessary only in the case of an emergency or at scheduled maintenance intervals. This greatly reduces the cost associated with dead oil platforms.

The field of electric power generation keeps gaining importance as more regions around the world obtain their electric power from renewable sources. However, the field of energy harvesting from water sources, other than dams, is relatively new. There are a few companies that have designed and deployed turbine-based systems to harvest water flow energy. As of the writing of this document, only one design attempts to harvest energy at an offshore location, and this particular design requires large startup cost in order to fix the generator on the seafloor. The design of a cost effective, easy to deploy, water current generator will have a strong impact in the field.

The energy present in the movement of sea water around an oil platform is larger than the energy required to maintain the essential functions of the oil platform.

[Public image, Political reasons, Environmental benefits, Importance of fundamental research, Education benefits, Advancement of fields, Possible future applications]

The deliverables of this project consist of the definition of the necessary requirements to achieve the project’s goal. Those issues and variables which affect the requirements will be identified. Competing harvesting technologies will be analyzed based on the requirements. The family of systems capable of fulfilling these requirements will be specified. A particular novel system will be proposed which exceeds the requirements. Detail design regarding said system will be included, including the design of a mechanical system capable of turning fluid motion into mechanical motion, an electromechanical transducer which will convert mechanical into electrical energy, and an energy storage system which store the excess energy and deliver it when the source does not provide enough power.

An effective current flow energy harvester can be adapted to power microsensors attached to marine wildlife, enabling longer lifespan and greater range of these sensors.

The amount of energy harvested can be increased in order to produce fuels such hydrogen, oxygen and liquid nitrogen.

A novel method of capturing the flow can be reversed to create a new type of water propulsion system.

Scientists and engineers, especially in Europe, have been exploring ways to exploit the enormous amount of energy in ocean tides, currents, and waves since the 1960s.  In the 1970s as a result of oil shortages research into ocean power technologies picked up significantly.  Numerous patents were granted as many universities and companies began to develop prototypes of renewable energy systems to harvest power from the ocean.  Unfortunately, the majority of these systems soon proved unrealistic and unprofitable. Wave energy systems were often hindered by the shear size required of the device to produce reasonable amounts of energy.  Meanwhile the development of marine current energy systems was halted by the logistics of installing a nd maintaining systems in areas of high current flow, in addition to transmitting the power from remote locations.  Recently, advances in power transmission, energy conversion efficiencies, and advanced materials development, in combination with higher fuel and electricity prices has caused the reemergence of research in ocean power technologies.

## Research Opportunities

ED wrote:

Many of the ideas pertinent to extracting energy from the movements of the ocean have existed for years. However, not until recently has it started to emerge as an enterprise with a clear future and place in the worlds energy market. The aim of our research is improve the efficiency of existing technology and develop new technology that will offer greater utility and range for energy harvesting applications in the ocean. In contrast to other means of energy procurement, the processes and systems for extracting energy from the ocean are nascent. While larger scale efforts have begun in Europe such as the Seaflow project conducted off the coast of the Britain by the UK and German governments, there exists to date only a modicum of industrial and government funding in the United States for ocean engineering research.

Many of the present limitations, inefficiencies and problems subsumed in the processes of extracting energy from the ocean are a result of its seminal stage. Naturally, as more research is directed toward solving the current problems afflicting these technologies, the overall progress, efficiency, and lucrative nature of these endeavors will increase. Our engineering research will join the body of technology and science that has coalesced around the problem of extracting clean energy from the environment. While these solutions and benefits will be applicable to systems such as your oil platforms, they will also lend benefit to increasing the efficiency of other ocean energy systems.

The problems addressed by our investigation will benefit from a specified and considered heuristic process geared for rendering usable techniques, methods and systems. Our academic and engineering research will be guyed by the applications and promise of providing power to a myriad of scientific and industrial applications. Our focus, aside from goals of innovation and improvement, will be shored by an acute awareness of how our work contributes to the larger and critical issues of yield, efficiency, reliability, required maintenance, associated costs and their pluralities. We understand that in today’s world a sound engineering solution is also a fiscally viable one that assumes feasible manufacturing, installation and maintenance costs. Ameliorations will be made by exploring the arena of known and unknown failure modes, focusing on new materials and conceptual design to extend life-time and reduce costs. We will also aim to address reliability issues centered about common ocean structure failures such as brittleness and fatigue, scour, dynamic and static loading, erosion, fretting, corrosion and bio-fouling. Our strong and variegated background will ensure competence and completeness in these enterprises.

Concomitant with our aim of maximizing the efficiency of existing mechanisms and developing new energy harvesting methods will be our concentration in optimizing the overall energy harvesting process. Critical properties of ocean energy sources like waves and currents vary over time. By focusing on the development of systems that sense and adapt in real-time to the inherent fluctuation of an energy source —by continually tuning its mechanical and electrical properties to its environment to optimize efficiency— we can increase the overall efficiency of such a system and thus increase energy capture. While this research in overall system optimization will be developed for applications appropriate to ocean applications, these advances will be an article of value to future technologies of similar application and scope.

Powering no longer yielding oil platforms by means of renewable energy from local ocean sources could provide an excellent resource for marine scientists and engineers.  Boat time is perhaps the mostly costly component of ocean research expeditions.  In cases where scientists or engineers need a ship to travel to and stay at one spot for an extended period of time it may save a lot of money to instead use the ship only for traveling to and from an oil platform.  Then the scientists or engineers can do their research while living on the platform.  For example, in researching ocean power technologies a group of engineers could install several different technologies on and around the platform and then assess and maintain the devices as needed as they live on site for a period of time.

Ocean power technologies developed for obsolete oil platforms could also be implemented on a working platform, decreasing the platform’s energy costs and environmental effects.  Moreover, beyond powering platforms, the research conducted will greatly contribute to the field of renewable energy technology.  Technologies developed for this application will be valuable prototypes for larger-scale ocean power generation projects.  In a future where renewable energy may be the primary method for addressing the world’s energy needs, developing ocean power technologies now is an important and necessary step.

This focus of capturing energy from the motion of the ocean segues to areas of research that demonstrate the scalability of the technology we intend to develop. Opposite the macro, megawatts scale of harvesting energy is the venture of developing devices to capture energy in the micro-scale regime of watts and milliwatts for scientific instrumentation.

Ocean data is collected by a myriad of remote scientific instruments such as buoys and moorings. The utility of the buoy is most significant in the extreme and distant places where travel and first hand monitoring is expensive and dangerous. Not surprisingly, many of these locations are home to active or high-energy sea conditions. Currently these buoys and moorings are powered by easily broken solar panels or batteries. It seems feasible that technology aimed at deriving energy from the ocean could be implemented to reduce maintenance costs and increase the available power to these buoys.

Another idea is the concept of harnessing the energy of an animal as it swims through the water—in essence turning the animal into a power plant— to power monitoring tags and other devices currently used by scientist to study pelagic animals. Provided the animal is sufficiently large and provides a critical minimum amount of convertible mechanical energy—from either flow around the body or body movement— this seems plausible. Such a power supply could replace the batteries found in current acoustic, satellite or pop-off archival transponder tags relied upon to study aquatic life absent from our gaze. Used in concert with existing methods, such a tool could expand the range and depth of understanding by gathering more and new types of data for longer periods of time.

There are several animals large and powerful enough for this method to work quite well— e.g., certain species of shark and tuna known as obligatory ram ventilators must always be swimming at some minimum speed so to pass a sufficient amount of water through their gills. However, it seems reasonable that with specialization this method could be used to provide power for monitoring marine life of a variety of shapes and sizes. Such developments could offer advances in the field of remote ocean sensors. They could also have military applications.

## Ocean Power Specifications

## Energy Conversion

Figure 1 is a system diagram of how energy would generally be extracted from an ocean environment. Power in the form of a fluid (kinetic, potential, pressure, etc.) energy comes from the wind, waves, currents, etc. Transferring fluid energy into a rotary or oscillatory motion through hydrodynamic forcing then creates mechanical energy. The mechanical energy is then converted into electrical energy by means of an electro-mechanical device (e.g. a generator).  The raw electrical energy is then conditioned, converting it into useable clean electricity.  There are also devices that can directly convert fluid energy into electrical energy through peizo-electric effects or electro-magnetism, thus removing the mechanical energy transfer step in figure 1.

Figure 1: Energy transfer diagram.

Figure 1 also illustrates system energy losses at each conversion step. Minimizing losses is important to the development of viable energy technologies.  Wavegen© [1], a company producing power from wave energy off the coast of Scottland, underestimated their system losses by as much as 89% (Look this statistic up to be sure).  During the design process it is important to account for losses properly in order to calculate a realistic overall system efficiency for comparison to other energy technologies.

## Ocean Currents

The power in a flowing fluid (i.e. wind, water currents, etc.) is determined by the flux of kinetic energy passing through an area (A).  That is the mass flow rate (UA) multiplied by the wind kinetic energy per unit mass (U2/2) see equation (1).

(1)

Ocean currents are usually classified as wind driven (typically surface currents) or thermohaline (typically underwater currents). Ocean currents are often layered; deepwater currents can travel in a completely different direction and at a different speed than the surface currents. Figure xx shows currents for the world’s oceans.  To understand how much power ocean currents can contain, assume an average current of 1.5 m/s found in the gulf stream, in order to get the same energy in wind the speed would need to be about 14 m/s.

## Waves

Wave power per unit width is calculated by integrating the pressure under the wave equations 2.  The pressure difference (p1-p2) and velocity (u) are defined in equations 5-6.

(2)

The average wave power increases as the amplitude (a) squared and the inverse of the frequency (w).

Figure xx shows an average wave power profile for the worlds coastlines.  Maine has an

energy density of  40 KW/m, which is enough wave energy in to produce 1 megaWatt of power with just 25 meters of coastline.  For a typical wave energy efficiency of 10% the same 1 MegaWatt would require 250 meters of coastline.

## Past and Present Technologies

## Ocean Current Technology

Tidal current power technologies generally rely on the use of marine turbines to capture power from water flow.  The La Rance Tidal Power Plant, in Brittany, France has been producing power since the mid 1960’s.  Unfortunately maintenance costs have plagued the system since the beginning, which is probably why this technology has not been exploited throughout the world.  However, several companies such as Blue Energy (Canada), Tidal Hydraulic Generators Ltd (UK), and Woodshed Technologies (Australia) are currently working on creating low maintenance advanced turbine systems, which are easier to service, in an effort to make tidal power a more promising renewable energy option.

Marine Current Power (UK), Verdant Power (US), and SMD Hydrovision (UK) are developing special turbines/propellers optimized for low-speed, open-water currents.  Another company, The Engineering Business Ltd (UK) has taken a different approach and designed a device called the ‘Stingray,’ consisting of a hydroplane that is connected to a fixed structure through a hydraulic joint.  The hydroplane oscillates as the water flows past it powering a generator.  The company recently stopped research on this project due to its projected unprofitability.  The remoteness of feasible marine current sites lead to problems in efficient power transmission and machinery maintenance.

## Wave Technology

One way to generate power from waves is through use of an oscillating water column (OWC).  Waves encountered by an OWC cause the water level to rise and fall within the main chamber forcing air through turbines, generating power figure (xx). Both fixed and floating OWC devices have been developed.  Daedalus (Greece) and Wavegen (UK) have both built and implemented fixed OWCs.  Wavegen, probably the leading OWC developer, is now working on a large-scale project to install an enormous fixed OWC within a coastal cliff on Faroes Island. Other companies such as ORECon (UK), in addition to the Japanese Agency for Marine Earth Science and Technology (JAMSTEC) have developed floating OWCs. [insert pic]

Wave energy can also be extracted by a series of hydraulically connected floating rafts.  As the rafts move relative to one another hydraulic fluid is pumped back and forth and this forced motion can be used to generate power.  This method of power extraction was first envisioned by Sir Richard Cockerell in the 1970s (ref).  However, significant advances in materials and hydraulic control systems have only recently made this technology a realistic prospect.  Ocean Power Delivery Ltd. has spent the last five years developing Pelamis, a 150m long device.  The three joints connecting its four discrete sections derive power from both the roll and pitch of the device as it follows the waves.  The Pelamis has been thoroughly tested in the North Sea and recently the company earned its first contract, from the Portuguese government.

A third method for wave power extraction is a linear generator.  These devices consist of a fixed internal unit and a floating external hood.  The fixed unit is tied to the seafloor and contains a large permanent magnet.  The hood, surrounded by a wire coil, is free to heave.  The relative motion of the coil and magnet produces an electrical current.  Tuning the system to the average wave frequency produces resonance.  Two companies have been working on this technology: Wave Power Technologies (US) and Archimedes WaveSwing (Netherlands).

## Qualifications/Means (How are we doing this? What makes us qualified?)

The team working on this project includes Alexandra Techet, Professor of Ocean and Mechanical Engineering at the Massachusetts Institute of Technology in Cambridge, MA, Jose Oscar Mur-Miranda, Visiting Assistant Professor of Electrical and Computer Engineering at the Franklin W. Olin School of Engineering in Needham, MA, and Rich <title>. Graduate (?) students working on this project include Tadd Truscott (MIT), Erik Dawe (WHOI) and Johanna L. Mathieu (MIT). Extra undergraduate students will be hired from both MIT’s and Olin’s undergraduate population.

The facilities at the disposal of the team include Prof. Techet’s laboratory and computing facilities at MIT, as well as assorted machine shops with various capabilities at MIT and Olin. Extensive maritime equipment can be obtained at WHOI. The Maine Maritime Academy has test locations suitable for testing the designs.

Woods Hole Oceanographic Institute is the largest independent oceanographic institute in the world. It has three large research vessels allowing access to the open seas, full testing facilities including a twenty-thousand psi pressure test chamber, complete machine, welding and metal fabrication shops and over 130 full-time scientists and engineers. It is located directly on the ocean providing the unique ability to easily essay objects in an marine environment.

RK wrote:

The team working on this project includes Alexandra Techet, Professor of Ocean and Mechanical Engineering at the Massachusetts Institute of Technology in Cambridge, MA, Jose Oscar Mur-Miranda, Visiting Assistant Professor of Electrical and Computer Engineering at the Franklin W. Olin School of Engineering in Needham, MA, and Richard Kimball, Assistant Professor of Engineering at the Maine Maritime Academy in Castine, Me. Graduate (?) students working on this project include Tadd Truscott (MIT), Erik Dawe (WHOI) and Johanna L. Mathieu (MIT). Extra undergraduate students will be hired from  MIT,  Olin and MMA to conduct research at those respective facilities.

The facilities at the disposal of the team include Prof. Techet’s laboratory and computing facilities at MIT, as well as assorted machine shops with various capabilities at MIT and Olin. Extensive maritime equipment can be obtained at WHOI. The Maine Maritime Academy has test locations suitable for testing the designs.

Woods Hole Oceanographic Institute is the largest independent oceanographic institute in the world. It has three large research vessels allowing access to the open seas, full testing facilities including a twenty-thousand psi pressure test chamber, complete machine, welding and metal fabrication shops and over 130 full-time scientists and engineers. It is located directly on the ocean providing the unique ability to easily essay objects in an marine environment.

Complimenting the facilities and assets of WHOI are facilities at the Maine Maritime Academy (MMA).  A unique feature of the MMA facility is the presence of a significant tidal current at the deepwater pier at the Academy. This site could be used as a convenient current energy extraction test site. The currents at the pier have been measured to to have a range of XX-YY knots (XX-YY m/s) and is consistent throughout the year. Dockside  facilities include typical heavy equipment found at a typical small vessel boatyard, including welding and machine shop facilities. A dockside Engineering building is also available within 50 feet of the pier side test site. MMA has over 20 full time engineering faculty and 400 undergraduate students in the engineering programs. Various small vessels including a small research vessel, a large barge and a fully operational tugboat are owned and operated by the Academy and available for use.

## What is needed? People / Equipment

## Conclusion

# References

1 - Wavegen©, 2002, http://www.wavegen.co.uk/research_papers.htm, Crown Publishing, Islay Limpet Project Monitoring Final Report, p 34.