	Program and Reg(s)
	Program Manager
	Generic Components
	Priority

	Beam Line Review
	G.Fallon
	Current authorizations

Hazard Analysis

User Training


	H

	Beam Line Surveys
	G.Fallon
	 Surveys for induced and removable activity

Sample analysis

Post signs

Document results


	H

	Authorization  Approval
	G.Fallon
	RPP staff review 

Biennial renewal
	H

	Worker Dosimetry
	G.Fallon
	Classify workers

Register worker

Obtain prior dosimetry records – when required

Distribute dosimetry

Collect dosimeters

Evaluate data 

Maintain data
	H

	Emergency Shutoff
	G.Fallon
	Install Units

Calibrate Units

Repair Units

Document Performance
	H

	Environmental Monitoring:Passive Devices
	G.Fallon
	Identification of areas to monitor

Setup of monitoring devices
Routine collection for processing

Analyze results

Preparation of environmental release reports
	H

	Environmental Monitoring: effluent  Releases
	G.Fallon
	Identification of sample sites

Collect Samples

Send samples for analysis

Review results for compliance issues

Report results 
	H

	Instrument Calibration( portable devices)
	G.Fallon
	Quarterly  checks

Annual calibration

Repair documented

Performance documented
	H

	Human Exposure to Radio Frequency Electromagnetic Fields
	G.Fallon
	Registration

Hazard evaluation

Worker training

Area monitoring 
	H

	Interlocks
	G.Fallon
	Establish interlock requirements

Install devices

Evaluate performance

Repair 

Document status
	H

	Laser Systems
	RPP 
	Laser Registration

Laser hazard evaluation

Worker training
	H

	Radiation worker training 
	G.Fallon
	Initial training

Biennial refresher

Records retention
	H

	Sealed Source Inventory
	G.Fallon
	Physical Inventory

Leak test

Analysis

Records retention
	H

	Waste Management
	G.Fallon
	Collection

Storage

Disposal/shipment

Records retention
	H

	Security of Radioactive Material
	G.Fallon
	Assign control number

Located in RPP controlled cabinet/area

Six month inventory
	H

	Analysis Laboratory
	G.Fallon
	QA/QC and Analysis
	H

	Radioactive Materials Shipping & Transportation: Dot issues
	G.Fallon
	Packaging radioactive samples

Shipment of radioactive packages

DOT/IATA training of staff

Records retention
	H

	Special Nuclear Material Program
	G.Fallon
	Training

Use/Control

Storage/Security

Disposal

Inventory
	H


