	Program and Reg(s)
	Program Manager
	Generic Components
	Priority

	Hazardous  waste management

310 CMR 30
	Justin Adams
	Identify and classify hazardous wastes and recyclable materials
Appropriately accumulate, store, ship and otherwise manage hazardous wastes.
	H

	Regulated Recyclable Materials

310 CMR 30.200
	Not assigned
	Identify materials generated subject to requirements.  Appropriately accumulate, store, ship and otherwise manage 
	H

	Air Permitting

310 CMR 7
	Zhanna
	Obtain Permit
Monitor Compliance
Modify permit for new or modified sources
	H

	HAZMAT Shipping

49 CFR
	Justin
	Register as HAZMAT Shipper
Develop Security Plan
Train persons involved in hazmat shipping
	H

	TSCA

40 CFR 700 et. seq
	S. Leite
	PMN - Identify potential for PMN application, assure imports are on the TSCA inventory
Health and Safety Data - Develop program to manage unpublished adverse health effects
PCB - Develop inventory of PCB equipment.  Perform inspections to assure proper management.
Asbestos / Lead paint - Assure proper disposal
	H

	Waste water discharges - Non MWRA

Local Ordinance
	Not Clearly assigned
	Obtain and follow permit for any water discharges to local treatment works or septic systems
	MH

	MEPA

301 CMR 11

Environmental Impact Review
	EPO 
Joe P. for EMP
	Review projects for application of threshold for MEPA Applicability.  Perform Notice and review if applicable
	M

	Used Oil Management 

310 CMR 30.250
	Justin Adams
	Appropriately accumulate, store, ship and otherwise manage used oil
	M

	Universal Waste Management

310 CMR 30.1000
	Justin for EMP -  DoF overall
	Appropriately accumulate, store, ship and otherwise manage Universal waste, including fluorescent light bulbs, thermostats, batteries, pesticides
	M

	Air Emissions

310 CMR 7.02
	Zhanna
	Ensure regulated emissions from fossil fuel utilization sources, such as boilers, generators, etc.  Are registered with the State and emissions are managed and reported as required.
	M

	Spill Prevention

40 CFR 112
	Dan K
	Develop and follow Spill Prevention and Countermeasure Control (SPCC) plan for oil storage above threshold
	M

	Storage Tanks

527 CMR 9.00
520 CMR 12
	Brett
	Install and maintain appropriate storage tanks and leak detection
Register tanks with local Fire Dept.
	M

	Wetlands

310 CMR 10
	Dkallin
	Obtain and follow permit for any construction activities in wetland resource areas
	M

	Water Pollution Control

314 CMR 1.00 to 14.00
	Zhanna
	Obtain and follow permit for any water discharges, including discharges to the Charles, storm water discharges with construction activities and Construction Dewatering
	M

	Waste water discharges to MWRA

360 CMR 10
	Zhanna
	Obtain and follow permit for any water discharges in the MWRA service area
	M

	Drinking water 

310 CMR 22
	Dan K
	Provide oversight to contractor
	M

	Insecticides / Fungicides
	Joe P (IPM) 
Zhanna (FIFRA)
	Develop IPM Plan for Day Care

Ensure licensed applicators are used
	M

	Mass Contingency plan

310 CMR 40.000
	Dkallin
	Report and remediate releases of hazardous substances
	M

	EPA Identification

310 CMR 30.353. (2)(c) (5)
	Justin Adams
	Submit notification to DEP. Update notification when new hazardous wastes are generated.
Evaluate all new waste streams for new waste codes
Evaluate and document generator status with biennial report
	L

	Solid Waste Management

310 CMR 19.017
	DOF
	Ensure restricted or banned solid wastes are not disposed as trash.  (Lead Batteries,  yard waste,  Tires, White Goods, Aluminum, Metal or Glass containers, Single Polymer Plastics,  Recyclable Paper,  Cathode Ray Tubes, Construction and Demolition debris such as Asphalt Pavement, Brick and Concrete, Metal and Wood
	L

	Employee Trip reduction

310 CMR 7.16
	Zhanna
	Develop programs designed to reduce single occupancy vehicle commutes
	L

	Community Right to Know 
(SARA)

40 CFR 355 to 372
MGL 111F
310 CMR 33
105 CMR 670
454 CMR 21
	Zhanna
	Obtain MSDS for hazardous materials
Develop inventory of materials above threshold planning quantities
Submit inventory data annually
	L

	Ground water protection

310 CMR 27
	Not clearly assigned
	Eliminate floor drains discharging to the ground
	L

	Toxic Releases

310 CMR 50
SARA 313
	NA
	Determine applicability and monitor for exceedance of thresholds
	NA


