Documentation for the program "fourfit"

-- last update 2024.3.22

---------------------------------------

COMMAND NAME:   fourfit

SYNOPSIS:  Performs fringe searching for continuum MkIV data

SYNTAX:  fourfit [-aeptx] [-b BB:F] [-c controlfile] [-d device]

[-f value] [-m value] [-n value] [-r afile] [-s naps]

[-P polar_pair] [-T trefoffs] [-X] data file list

[set <control file syntax statements>]

Where all arguments except the data file list are optional,

except when the [-r afile] option is present in which case

the data file list is ignored.  All option flags must appear

before the data file list (if no -r).  Option flags can come

in any order and simple flags (a,e,p,t and x may be combined).

The "set" option comes last and has the effect of appending

(last word: over-riding previous directives).

Here are examples of command-line invocations of fourfit, with

an explanation of what they do:

fourfit -pat -c control 101-0620/3C279.051V4B set freqs a b

Test mode, steps through all baselines polarizations for

this scan.  Without the -pat, the fringes would just be

written in individual files in 101-0620, with one file

per baseline-pol-frequency group type. Accounting is on.

All channels are ignored except a and b.

fourfit -r refr_list -c control -d hardcopy -b AT:S

Process all data referenced by type 2 lines in the A-file

named "refr_list", use control file "control", print the

fringe plot on the default printer, process only baseline

AT frequency subgroup S.

OPTION FLAGS:

-a

If specified, this option switches on accounting

of CPU time and wall-clock time used in the various

parts of fourfit.  When the program finishes, it

produces a summary of these timing statistics.

-b BB:F

Allows the user to override the control file

with a specification of the baseline and/or

frequency group to be processed.  The syntax is

flexible.  0, 1 or 2 characters before the colon

refer to the baseline (one character is interpreted

as a station), and 0 or 1 character after the colon

is interpreted as the frequency subgroup.  You can

use the control file wildcard character '?' in

the baseline, but remember to protect it from the

C-shell either by escaping it with a backslash '\'

or enclosing the entire -b argument in single

quotes.  If you wish only to specify the baseline,

the colon may be omitted.  An error in the -b

flag argument causes the flag to be ignored, and

fourfit will continue execution.

-c controlfile

Specifies the file which contains parameters

to control the operation of the program.  If

absent, fourfit will use only the file pointed to

by the environment variable DEF_CONTROL, which

in turn defaults to $FF/cf_default as defined

in the $HOPS/setup.csh file.  Any parameters

set in a control file specified with the -c option

override the default file values.  A description

of the syntax of the control file, with an example,

can be found later in this document.

-d display_device

Upon completion of a fringe fit, fourfit optionally

display the results using ghostscript (gs) as configured

when you build fourfit.  Valid "display_device" choices:

hardcopy          print via lpr or lpr -P MK4_PRINTER

pshardcopy        print the plot via pplot_print

xwindow           displays it with the gs 'x11' device

psscreen          displays it with default gs device.

diskfile?file.ps  save the plot in "file.ps"

ps2pdf?file.ps    use "file.ps" to make "file.pdf"

Case is ignored.  For GS options, start with: gs --help.

When a %d (or other integer) is found in the 'file' part of

the argument, an incrementing number will be used (over the

life of fourfit).  You may also use %B, %F and %P to have

the baseline, frequency group and polarization inserted in

place of those two-character combinations.  The ? here is

any character that the shell is happy with.  %P does not

work in all cases due to some nasty history.

-e

If specified, this option estimates the time required for

processing by fringing the first scan and crudely extrapolating

to the remaining scans.  It activates -a and -t; only the

first data file mentioned will be included in the estimate.

-f first channel

overrides the default first channel (0) to facilitate

plotting when there are more than 16 channels (see -n).

See -n and display_chans option for the control file below.

-m value

This flag controls the verbosity of the program via

the integer argument "value", which is forced to the

range [-3,3].  Exceptionally 4 may be used which prints

nothing except the fringe name.

-n number of channels

This reduces the number of displayed channels from the

default of all channels.  See -f above as well as the

display_chans directive for the control file.

-p

This is equivalent to "-d psscreen", see -d above.

-r afile

Puts fourfit into "refringe" mode.  Fourfit refringing

is driven by an A-file input, which overrides any

correlator root files directly specified on the command

line (i.e. the latter are ignored when the -r flag

is specified).  The input A-file, of which there can

be only one, may contain root, corel or fringe lines,

but only the (type 2) fringe lines are used to determine

which data to process, by baseline and frequency subgroup.

Obviously, the -r flag is inconsistent with the -u

flag, and specifying both is an error.  Note that for

afiles using HP-1000 (version 1) line formats, fourfit

has to pre-check the disk for the existence of the

type 2 files.  The data area is controlled by the

DATADIR environment variable.  It defaults to the

value of $CORDATA.

-s naps

This parameter controls how many AP's are merged

together into each plotting segment. Thus the number

of time points shown in the phase, amplitude, and

validity plots is so controlled. Additionally, the

ph/seg and amp/seg statistics are calculated based

upon the stated number of AP's in each segment.

-t

This flag places fourfit in test mode.  Everything

works as normal, except that the output file is not

written to disk, and the root file is not updated.

This is useful when experimenting with different

fringe-fitting strategies, in order to avoid cluttering

up the disk.

-x

This is equivalent to "-d xwindow", see -d above.

-P pp

Controls polarization processing, where the 2 character

string pp is one of four cross-polarization

states: LL, RR, LR, or RL.  Additional modes are possible

'all'  adds data from all polarizations present

'I'    forms a Stokes I from presumed linear pols

and using '+' a sum of up to 4 pol products co-added.

(With the exception of 'I', fourfit does not care that

the polarizations are linear or circular...it just adds

what it has.  Rudimentary support for co-adding circular

pols likely requires correct setting of the mount_type.)

-T trefoffs

If this option is invoked, the fourfit reference

time will be calculated by taking the nominal scan

start time from the ovex file and adding trefoffs

(which is a positive integer # of seconds) to it.

-X

Forces fourfit to write cross-power spectra into

type 230 records. This option is typically used for

import into AIPS or diagnostics.

ARGUMENTS:  data file list

This mandatory argument or arguments tells fourfit

which data files to process.  The format of the data

file specification is the standard one for all HOPS

software.  You may specify individual filenames,

scan directories which contain data files,

experiment directories, or any combination of

these three.  In the latter two cases,

fourfit will descend the directory tree looking for

data files to add to its internal list of files to

process.  Only root files need be specified.  The

data files actually fringe-searched are determined

by the combination of the root files specified and the

restrictions imposed by the control file or control

parameter list (see below).  In the absence of

such restrictions, all data associated with the

specified root files are processed.

The postscript rendering is performed by ghostscript

[gs(1)], and GS_* environment variables can be used

to produce a variety of graphics when the "psscreen"

(see -d above).  For example,

GS_OPTIONS=-sOutputFile=abc.png GS_DEVICE=png16 \

fourfit ...

will generate a 16-color PNG plot.

set <control file syntax statements>

This command line argument is optional, and

is intended to permit rapid, temporary modification

of 'fourfit' behavior without the need to edit the

control file.  The word "set" tells fourfit to expect

additional control information on the rest of the

command line.  The syntax of this control information

is identical to that of the control file (see

detailed description below).  The control file

parser will detect syntax errors and abort if you

do not follow the rules.  The control information you

specify after the "set" argument on the command line

applies to all data to be processed, and overrides

whatever the control file itself specified for the

parameters in question.

ENVIRONMENT:    DEF_CONTROL, DISPLAY, DATADIR, GS_DEVICE, GS_OPTIONS,

HOPS_PLOT_DATA_MASK, HOPS_AMP_SEG_FILTER, HOPS_EST_PC_BIAS,

HOPS_EST_PC_DLYM, ARCH, HOPS_FF_PHASE_CLR, HOPS_PLOT_DATA_MASK

DESCRIPTION:

Fourfit is the functional analogue of FRNGE on the HP-1000 systems, and

searches the data represented by the root and corel files for fringes,

writing the results of the search to files of type fringe.  The emphasis

in the design of the program has been speed and flexibility, particularly

with regard to future enhancements (of which there have been a great many).

Algorithmically, the program was closely modelled on FRNGE, with minor

enhancements, but evolution has made a number of structural changes.

The HOPS3 era ends in 2024, with a captured version that will stop evolving.

The HOPS4 era then begins with a more robust framework allowing greater

future flexibility.

Here is a (nonsensical) sample of a control file to give you an idea

what it looks like.  As there are now over 100 directives, this is

necessarily limited to some basic ones.

* global commands come first

ref_freq  8213.15

start -10

if station L and f_group X

freqs a+ b c d- e f g h

pc_phases abcdefgh 5 -11 12 38 -56 13.2 11 -29

pc_mode ap_by_ap

pc_freqs abcdefgh 10 10 1010 10 1010 10 1010 1010

if station L and f_group S

pc_phases ijkmn 4.5 -78 39 +12 0

pc_mode normal

if station A

pc_mode multitone

pc_period 30

pc_tonemask abcdefgh 0 0 8 0 4 0 5 0

pc_phases_l abcdefgh 12 13 11 12 24 -6 38 110

pc_phases_r abcdefgh 11 29 14 11 64 -2 44 132

samplers 2 abcd efgh

pc_delay_l 30.2

pc_delay_r -5.9

ionosphere 18.0

* all windows are in usec, but the delay rate plot is in ns/s

* with a range typically in ps/s

if (station V or baseline KT) and source 3C279

sb_win -0.5 0.5    mb_win 0.02 0.02  dr_win -1.0E-6 0.5E-6

else

sb_win 0.0 0.0     mb_win 0.02 0.02  dr_win -1.0E-6 0.5E-6

if scan 288-210210

sb_win .37 .37

if scan > 289-132510

skip true

if baseline K? and not scan 250-120000 to 251-235959

switched scan_start

period 30

gates abcfgh  0 30  0 10  15 25     0 10  15 25  0 30

* End of sample control file

SELECTOR KEYWORDS     VALUES

station            1 character

baseline           2 characters

source             string of 1-8 chars

f_group            1 character

scan               UT-epoch (special format), or:

< UT-epoch

> UT-epoch

UT-epoch1 to UT-epoch2  (inclusive time range)

SYNTACTIC KEYWORDS

if

else

and

or

not

<>

to

?

ACTION KEYWORDS         VALUES

adhoc_amp          float

adhoc_file         string

adhoc_file_chans   string

adhoc_flag_file    string

adhoc_period       float

adhoc_phase        'sinewave', 'polynomial', or 'file'

adhoc_poly         <7 floats/integers (mixture OK)

adhoc_tref         float

avxpzoom           2 floats

avxplopt           2 int

chan_ids           n char string, followed by n floats

clone_ids          a 2n-char string

clone_snr_chk      `true' or `false` (default: false)

chan_notches       an (n-char) string

dc_block           `true' or `false' (default: false)

dec_offset         float

delay_offs         n char string, followed by n floats

delay_offs_l       n char string, followed by n floats

delay_offs_r       n char string, followed by n floats

delay_offs_x       n char string, followed by n floats

delay_offs_y       n char string, followed by n floats

display_chans      n-char-string (channels to display; cf -f and -n)

dr_win             2 floats

est_pc_manual      int

fmatch_bw_pct      float

freqs              n chars

frqs               n char string

gates              n char string, followed by 2n floats

gen_cf_record      'true' or 'false' (default: false)

index              n ints

interpolator       'iterate' or 'simul' (default: simul[taneous])

ionosphere         float

ion_npts           int

ion_smooth         'true' or 'false' (default: false)

ion_win            2 floats

lsb_offset         float

mb_win             2 floats

mbd_anchor         'sbd' or 'model' (default: model)

min_weight         float

mbdrplopt          3 ints

mod4numbering      `true' or `false'

polfringnames      `true' or `false'

mount_type         'no_mount', 'cassegrain', 'nasmythleft' or 'nasmythright'

noautofringes      `true' or `false'

notches            2n floats

optimize_closure   'true' or 'false' (default: false)

passband           2 floats

pc_amp_hcode       float

pc_delay_l         float

pc_delay_r         float

pc_delay_x         float

pc_delay_y         float

pc_phase_offset_l  float

pc_phase_offset_r  float

pc_phase_offset_x  float

pc_phase_offset_y  float

pc_phases          n char string, followed by n floats

pc_phases_l        n char string, followed by n floats

pc_phases_r        n char string, followed by n floats

pc_phases_x        n char string, followed by n floats

pc_phases_y        n char string, followed by n floats

pc_freqs           n char string, followed by n floats

pc_mode            `normal', `ap_by_ap', `manual', or 'multitone'

pc_period          int

pc_tonemask        n char string, followed by n floats

period             int

plot_data_dir      string

fringeout_dir      string

ra_offset          float

ref_freq           float

samplers           int, followed by up to 8 strings

sampler_delay_l    up to 8 floats

sampler_delay_r    up to 8 floats

sampler_delay_x    up to 8 floats

sampler_delay_y    up to 8 floats

sb_win             2 floats

skip               `true' or `false'

start              integer

station_delay      float

stop               integer

switched           `scan_start' or `each_minute'

t_cohere           float

use_samples        `true' or `false'

weak_channel       float

KEYWORD SEMANTICS

**scan selection**

skip          if this is set to true in the body of an if_block, then

any scans matching the if conditions will be skipped.

Note: as of 99.2.19 fourfit will not properly skip data

if f_group is specified.

**filtering**    determines whether or not each AP is accepted

freqs         controls which frequency channels get included in the fit.

The letters a-p correspond to the order that the frequencies

appear in the root file (assuming 16 channels). With no

suffix, DSB is implied if both sidebands are present.

A plus suffix denotes USB, a minus is used for LSB.

After 26 channels, the uppercase alphabet is used,

then 10 digits, finally '$' and '%' (i.e. 64 channels).

frqs          same as freqs, but presented as a string (no spaces).

Additional handling is applied, so that ~ represents a

range of channels (e.g. a~d is abcd).  If channel aliasing

is in effect, % is converted to an alias of the preceding

channel (and consumes a letter in the process; see NOTE).

The +/- sideband indicators still have their usual meanings.

If you've already used frqs in the control file, then

in the 'set' command you can only adjust with freqs.

start         start time for data to be included.

stop          stop    "   "    "  "   "    "

Arguments of start and stop are integers with an optional

minus sign. A positive integer is interpreted as an

absolute time in seconds past the hour (of the scan

start time). When a minus sign precedes the start time

it is considered to be a time relative to, and later

than, the scheduled scan start. Similarly, a negative

stop time precedes the scheduled scan stop time, by

the indicated number of seconds.

switched      turns on (frequency) switched mode, which discards some AP's

and keeps others, depending on a gating waveform

period        period in seconds of the gating waveform

gates         for each freq. channel, the starting delay and duration, in

seconds, of the gating waveform

passband      lower and upper bounds (in MHz) of the spectral passband of

data to be accepted, specified as RF frequencies. If the

lower bound is greater than the upper bound, the range

wraps around -- allowing a band in the middle to be

excluded.  The data is rescaled so as to preserve the

amplitude observable (as if the data excluded were perfectly

valid); this means that the area under cross-power spectral

plot amplitude curve is approximately conserved.

Note: passband and notches should not both be applied;

you will get a warning (just in case you know what you are

doing) in the fourfit plot, but no fatal error.

notches       a list of non-overlapping lower/upper bounds pairs (in MHz)

to exclude from the spectral passband.  (Passband may be

applied prior to removal of these notches.)  Note that the

amplitude modification calculus isn't sufficiently

sophisticated to detect overlaps of passband and notches,

so be sure to keep your surgeries disjoint.  (A large number

is supported and you will get a complaint if you exceed it.)

As with passband, the spectral data is rescaled so that

the amplitude observable is in some sense preserved.

Note: passband and notches should not both be applied;

you will get a warning (just in case you know what you are

doing) in the fourfit plot, but no fatal error.

chan_notches  Nominally an n-char string of channel labels (freqs/frqs)

corresponding directly to the list of notches.  You may use

an @ character to have notches apply to all channels, and

if frqs has been used ~ may be used for a range of channels.

Finally @|N will be treated as a string of N channels marked

with @.  (Here N is not to be confused with channel N.)  For

robustness, it is an error if the expanded length of the

string does not match the number of notches (which must have

previously been declared).

dc_block      if set to true, zero out lowest cross-power spectral

channel; useful for suppressing DC bias

min_weight    fraction of data which must be present for inclusion.

Normally, a weight between 0.0 and 1.0 is provided by

the correlator to represent the fraction of data actually

supporting the correlation value.  If you specify a minimum

weight, any AP not meeting this threshold will be discarded.

**search**       control the fringe-searching process

sb_win        single band delay search window bounds, in us

mb_win        multiband     "     "      "       "     "  "; if the upper

bound (2nd number) is less than the lower bound (1st

number), then fourfit performs a "wrap-around" search, in

order to handle the case of a delay near to the multiband

(semi-) ambiguity.

dr_win        delay_rate search window bounds, in us/s

ion_npts      number of evaluation points in ionospheric coarse search

ion_smooth    if true, use alternative search on smoothed TEC grid points

ion_win       ionospheric coarse search window in TEC units

ra_offset     apply right asc.offset (asec) to re-center search windows

dec_offset      "   declination  "   (asec) "      "        "      "

interpolator  selects method of fit interpolation. Classically, an

iterative search has been done over sbd, mbd, drate, one

dimension at a time, for 3 cycles. The simultaneous mode

(simul for brevity) constructs a 5x5x5 cube of data points

and does a 3D quintic interpolation.

**corrections**  apply corrections to the data, either before or after fit

pc_mode   specify phase_cal mode:

- normal (model linear in time is extracted from the data)

- manual (specified totally by the user)

- ap_by_ap (phase cal is extracted independently for each AP)

DEPRECATED: use normal or manual with pc_period 1 or more

- multitone (all tones in band are coherently fit, and phase

is extrapolated to the center of the band).

pc_phases phase_cal phases in deg, for each of the listed freq channels;

these offset phases are added to the underlying model, as

specified by pc_mode, above. If 2 polarizations are present,

the same values are applied to both pols.

pc_phases_l specified in same manner as pc_phases, but the tone phases

so specified are applied only to the first pol (L, X, or H)

pc_phases_r specified in same manner as pc_phases, but the tone phases

so specified are applied only to the second pol (R, Y, or V)

pc_phases_x synonym for pc_phases_l (see)

pc_phases_y synonym for pc_phases_r (see)

pc_freqs  phase cal tone frequencies in KHz, for each of the listed

freq channels iff not in range -64..64. Inside of this

range, the value is interpreted as a tone #, with 1 being

the 1st USB tone, 2 being the 2nd USB tone, etc. Negative

tone #'s are used for LSB tones.

pc_period in multitone mode (only), the phase can be estimated

and applied over each pc_period ap's, thus removing slopes

or other drifts in pcal (default is 9999)

pc_tonemask - in multitone mode (only):

The values for pc_tonemask form a bit-masked map of which

tones to *exclude* for this frequency channel. Thus 1

excludes the lowest tone, 2 the next lower tone, 4 the 3rd

lowest tone, etc. A value of 5, for example, would exclude

the lowest and the 3rd lowest tones (perhaps 10 KHz and 2.01

MHz).

pc_delay_l a time value in ns representing the difference between the

pc_delay_r the travel time from the feed phase center to the pcal

injection point, minus the the travel time from the pcal

pulse generator to the injection point. It is specified

separately for the two polarization senses.

pc_delay_x

pc_delay_y synonyms for pc_delay_l and pc_delay_r (see)

pc_phase_offset_x

pc_phase_offset_y a single additive phase given in degrees, which is

applied to the pcal phase of every channel associated with a given

polarization (also pc_phase_offset_l and pc_phase_offset_r)

lsb_offset additive phase in degrees, for the LSB relative to the USB;

often necessary when correlating VLBA data against Mk 3

ref_freq  specifies a frequency in MHz at which the phase delay

is determined (default is total LO of first frequency)

adhoc_phase specify mode of ad hoc phase corrections. No corrections

are made if this isn't present, or is set to false.

adhoc_period  For ad hoc sinewave model; the period in integer seconds.

adhoc_amp      "   "  "     "       "    amplitude in degrees of phase.

adhoc_tref    For both ad hoc phase models; the reference time in seconds

past the most recent hour.

adhoc_poly For the ad hoc phase polynomial model; From 1-6 coefficients

describing a power-series model in time. (deg/sec^n)

adhoc_flag_file  Name of the file containing adhoc flagging.  Lines of this

contain times (floating point days from beginning of year) and

character strings to impose data flagging at a particular time

(which remains in effect until the next time mentioned).  The

character string has two characters per channel with a nonzero

bit for data to be retained with the bit assignments as follows:

(msb)USB-RL,LSB-RL,USB-LR,LSB-LR,USB-RR,LSB-RR,USB-LL,LSB-LL(lsb)

If the string is too short, the last byte will be replicated to

the remaining channels, so a single FF is adquate to retain all

or a single 00 to discard all.

adhoc_file Name of the file containing phases in the ad hoc file mode.

adhoc_file_chans String of channel labels for phases (columns) in the

ad hoc file.

use_samples   If true, use the sampler statistics (aka state counts) to

normalize the raw correlation sums to the equivalent analog

correlation.

ionosphere specified per station, in TEC (10^16/m^2) units

t_cohere  coherence time used in fringe fit (default is infinite)

delay_offs delay offsets (ns) to be applied to each of the listed freq

channels. This correction is made prefit, similar to pcal.

delay_offs_l same as above, but restricted to LCP.

delay_offs_r same as above, but restricted to RCP.

delay_offs_x same as above, but restricted to X linear pol.

delay_offs_y same as above, but restricted to Y linear pol.

samplers  the number of samplers, followed by the freq channel

identifiers of channels that share a common sampler are

grouped together in strings. In multitone mode only, the

averaged tone-derived differential delays are applied to

all channels sharing a sampler.

optimize_closure modifies fine fringe search so as to minimize the

contribution of non-closing delay errors to the closure phase;

can result in poorer single-baseline fits

station_delay a priori guess at the delay of the pcal path, from maser

to the digitizers (ns). Recommended to use

sampler_delay_l/r/x/y instead.

mbd_anchor controls the basis for choosing the mbd ambiguity when

forming the total. If 'sbd' then the ambiguity closest to

the singleband delay is chosen; if 'model' then the

ambiguity closest to the a priori model is chosen.

sampler_delay_l indexed by sampler, it is the center of the window

in which the pcal delay ambiguity will be resolved. Just like

the old station_delay, but now broken down by sampler and

polarization, since their cabling and filters will lead

to different delays. For LCP, in units of ns.

sampler_delay_r same as the above, but for RCP, instead of LCP.

sampler_delay_x synonym for sampler_delay_l.

sampler_delay_y synonym for sampler_delay_r.

mount_type allows one to specify one of these: 'no_mount', 'cassegrain',

'nasmythleft' or 'nasmythright' on a per-station basis.  If a

station is specified as other than no_mount, then a field

rotation angle correction will be made.  This currently is

an experimental feature, and only applies to non-mixed,

circular polarization fringe products.  The parallactic angle

and elevation angles are currently evaluated only at the start

of the scan.

** miscellaneous functions or capabilites **

chan_ids      changes the assignment of the channel labels

"abcdef..xyzABC..XYZ01..789$%" from the default values

to the ones (MHz) specified by the corresponding list of floats

This is useful to prevent mis-matched IFs within an experiment

from causing the same channel label to be ambiguously used on

various baselines.  (Values within 0.01 MHz are a match.)

Note that this directive must appear prior to any mention of

channels by id (as the mapping is changed with this command).

clone_ids     adds additional channels as clones of existing channels.

This provides a pathway for special editing of channels that

are created by output bands which need, e.g. different phases

in different parts of frequency space.  As with chan_ids, this

directive must appear before mention of the new channels.

If chan_ids is used, chan_ids must appear before clone_ids.

The argument is an even length string with the channels to

clone followed by the channel labels to use.  The first half

should correspond to recorded channels, the second half should

not.  (The maximum number of frequencies, including the

clones, is limited to 64, for a variety of reasons.)

clone_snr_chk when true, checks SNR and raises 'C' quality code flag.  For

correct SNR estimates, no bits should be used twice (NYI).

fringeout_dir if present will (create and) use this directory for output

fringes rather than co-location with the correlated data.

This must be an absolute pathname.  Subdirectories for

experiment name and scan will then be created along with

a bogus root file (so that the niceties are preserved).

plot_data_dir if present will be used as a path to dump the plot data

in a self-documented ascii form to allow export of plot

information to other arenas (specialized plots, &c).  One

file per fringe is written; more help is available within

the files that are produced: there is help for the options

that may be used to manipulate the content.

fmatch_bw_pct associate freqs < this percentage of bw together (25% default)

pc_amp_hcode  generate an H code iff any pcal amps less than this

value (0.005 by default)

weak_channel  the ratio of single_channel_amp to coherent_sum_amp

below which a G code is assigned to the scan (0.5 default)

gen_cf_record if true, saves the full control file in the fringe record

est_pc_manual if nonzero, estimates manual pc_phase_? and delay_offs_?

values. A value >0/<0 estimates ref/rem station values.

The magnitude is a mask of bits indicating what and how

to make estimates; too estimate phase: include 0x01.

For delay there are several options: 0x02 to use the median

of the individual channel sbd values, 0x04 to use the average

of the sbd channel values, 0x08 uses the total sbd value, or

0x10 use the computed per-channel sbd delays. The bit 0x20

(in addition) activates heuristics to discard outliers.

0x40 reports a phase measurement that is usable via the

pc_phase_offset_? value.  Finally, 0x80 can be used to

supply a phase bias via an environment variable

(HOPS_EST_PC_BIAS, i.e. this shifts all channel phases).

Calculations are made with channels in the -f and -n range

(inclusive).  Conflicting commanding on the delay options

results in no corrections.  The phase calculation normally

provides values that remove the MBD (according to the setting

of mbd_anchor).  An environment variable HOPS_EST_PC_DLYM may

be set to provide a multipler on this correction:  0.0 will

not correct delay but will line up the phases, 0.5 will only

correct half of the delay (e.g. which could be used as part

of an iterative process), and 1.0 is the default which

chooses phases to remove the MBD.  If 0x100 is set (for the

0x02..0x08 methods), the delay so calculated is transferred

to the sbd values.  In this case an environment variable

HOPS_EST_PC_MDLY is used.  In all of these cases the output is

text suitable for inclusion in a control file.  (Note that

the fourfit control parser only works with base-10 integers,

sos setting 0x100 really means add 256 to 2, 4 or 8.)

A script est_manual_phases.py is available to drive a full

determination of manual pc phases using these options.

Note that the -f and -n options restrict the output to that

range of channels, independent of display_chans.

avxpzoom      a pair of numbers that allows you to "zoom in" on the average

cross-power spectrum plot.  The first number is the location

(in plot window x coordinates, ranging from 0.0 to 1.0) of

interest and the second number is the width (again in plot

window x coordinates).  This is useful to use with the

passband option. ('avxp' is short for averaged cross-power.)

avxplopt      two numbers providing options for plotting of this window.

The second number can be -7, -1, 0, 1 or +7.  The default

behavior obtains with 0.  With non-negative values, the

amplitude is plotted first, with negative values, the phase

is plotted first--0 and 1 are equivalent.  With +/-7 the

phase points will be connected with a faint reddish line.

The first number (useful when passband is active) is an

amplitude threshold (in pixels, defaulting to 20) for

amplitude/phase data to be discarded.  The fourier transform,

interpolation and smoothing process generate small values

which clutter the plot and it is usually better to discard

them.  This is only done for nonzero values of the second

number.  The RGB values in the +/-7 option may be set as

you like using HOPS_FF_PHASE_CLR to be a cvs triplet of

red,green,blue on a 0..1 scale (see pgplot documentation).

mbdrplopt     three integers affecting the delay and MBD delay-rate plots.

If the first number is non-zero, the stacking of the traces

is reversed (i.e. MBD first, delay-rate second).  The second

integer is a divider for the horizontal axis to show

increasingly more detail at the center of the plot.  The

third integer does the same, but for the SBD plot.

('mbdr' is short for multi-band delay-rate.)

mod4numbering if 'true' forces the fringe numbers to be chosen

to be well-ordered with polarization, specifically 1..4

cycle through LL, RR, LR and RL.  There is no

guarantee that there are no gaps in the numbering.

Other pol cases revert to normal(sequential) numbering.

polfringnames if 'true' put a polarization label in the fringe

name: NNNN -> NNNN-PP.  This option is independent of

mod4numbering and one may do either or both, but the results

may not work for all uses.  The only supported pol'n options

are LL,RR,LR and RL (or X or Y substitions).  Other cases

revert to normal(no pol label in fringe name).  This option

is in development and should not yet be used for production.

noautofringes if 'true' will skip fringes for auto correlations as an

alternative to more complex logic in the control file.

display_chans a channel character string using the same syntax as frqs.

Optionally, @N may appear at the end, which means to skip

N correlated channels between the displayed ones.  In the

32 channel era, this allows you to do, e.g. @4 so that only

7-8 channels are displayed.  @0 is implied if @N is missing.

When display_chans is used, -f and -n further reduce the

list of channels to be displayed.  In all cases, the first,

last and "All" plots are ensured to be present.  (Note that

"All" is automatically dropped when only one channel is to

be plotted.)  What you get is not always what you thought.

NOTE:

As there are many special purpose features that have been introduced,

it is not necessarily the case that all options work in all situations.

(This is especially true as geodetic and astronomic back ends diverge.)

SPECIAL KEYWORD VALUES

?         wild card character

keep      32767

discard       0

true          1

false         0

QUALITY CODES

Fourfit plots show fringe quality and/or error codes.  Quality starts at

9 and falls as the time and freq phase and amp exceed theoretical limits.

A qcode of 0 means no fringe (PFD > 1E-4).

ERROR CODES

A  Trying to use both passband and notches.  This is maybe not horrible

if the notches are tiny...but proper accounting of SNR is failing.

B  Some form of interpolation error, usually due to fringes at the

edge of some window

C  Some sort of channel cloning error when clone_snr_check is used.

D  missing track

E  Solution is at the edge of some window.

F  Originally meant no data found; now notes Station Unit "forks"

(whatever that means)

G  Shows there is a "weak" channel when the SNR > 20

H  Indicates there are one or more weak phase cals in normal mode.

In multitone mode, it means the average pcal amplitude is below

threshold.  Note that some tones may be weak but not generate H.

SPECIAL FORMATS

UT-epochs:  UT-epochs are expressed in the format ddd-hhmmss, where all 10

characters are necessary, including leading 0's if

appropriate.  This format will match that of a scan directory,

if the UT-epoch that is being specified is an actual scan time.

GENERAL GUIDELINES

1) White space is ignored; i.e., multiple spaces and line feeds all

collapse to a single space.

2) Multiple commands per line are fine.

3) Comments: anything from an asterisk through the end of the line

is ignored.

4) Nested ifs are not allowed.  The logical operators, in decreasing

order of precedence are (not, and, or) and that seems sufficient.

(The plan was to allow parentheses and more complicated logic, but

that was never implemented.)

5) Wildcard "?" matches any single character for f_group, station, or

baseline, any string (of up to 8 characters) for source, and any

time-value for scan.  Remember to escape it if you use it on the

command line.

6) Phase cal and delay offsets are treated station by station. If not

in a "station context", then values are applied to remote stn only.

7) Only freqs that are chosen for both stations in a baseline are

present in the fit.

8) If multiple if-blocks match a particular passes' choice of baseline,

f_group, source, and scan criteria, then the later values assigned

to each parameter overwrite the earlier ones.

eof