Documentation for the program "fourfit"

---------------------------------------

COMMAND NAME:   fourfit

SYNOPSIS:  Performs fringe searching for continuum MkIV data

SYNTAX:  fourfit [-a] [-b BB:F] [-c controlfile] [-d display device]

[-f value] [-m value] [-n value] [-p] [-r afile] [-s naps]

[-tux] [-P polar_pair] [-T trefoffs] [-X] data file list

[set <control file syntax statements>]

Where all arguments except the data file list are optional.

The [-r afile] option replaces the data file list, however.

The "set" argument and the commands which follow it must

come last.  All option flags must appear before the data file

list.  Option flags can come in any order.

Here are two examples of command-line invocations of fourfit, with

an explanation of what they do:

fourfit -txas -m 1 -c control 018-234505 set mb_win -0.0034 .004 freqs a b

Test mode, xwindow display, accounting switched on, cross

power spectrum plot switched on, moderately verbose, use

control file named "control" in current working directory,

process all data in scan directory 018-234505, override

multiband delay search window and select channels 'a' and

'b' only.

fourfit -r refr_list -c control -d hardcopy -b AT:S

Process all data referenced by type 2 lines in the A-file

named "refr_list", use control file "control", print the

fringe plot on the default printer, process only baseline

AT frequency subgroup S.

OPTION FLAGS:

-a

If specified, this option switches on accounting

of CPU time and wall-clock time used in the various

parts of fourfit.  When the program finishes, it

produces a summary of these timing statistics.

-b BB:F

Allows the user to override the control file

with a specification of the baseline and/or

frequency group to be processed.  The syntax is

flexible.  0, 1 or 2 characters before the colon

refer to the baseline (one character is interpreted

as a station), and 0 or 1 character after the colon

is interpreted as the frequency subgroup.  You can

use the control file wildcard character '?' in

the baseline, but remember to protect it from the

C-shell either by escaping it with a backslash '\'

or enclosing the entire -b argument in single

quotes.  If you wish only to specify the baseline,

the colon may be omitted.  An error in the -b

flag argument causes the flag to be ignored, and

fourfit will continue execution.

-c controlfile

Specifies the file which contains parameters

to control the operation of the program.  If

absent, fourfit will use only the file pointed to

by the environment variable DEF_CONTROL, which

in turn defaults to $FF/cf_default as defined

in the $HOPS/setup.csh file.  Any parameters

set in a control file specified with the -c option

override the default file values.  A description

of the syntax of the control file, with an example,

can be found later in this document.

-d display_device

Upon completion of a fringe fit, fourfit can

optionally display the results using postscript.

The valid choices for "display_device" are:

diskfile:file.ps  save the plot in "file.ps"

hardcopy          send the plot directly to lpr

pshardcopy        print the plot via pplot_print

xwindow           show the plot in an X11 window

psscreen          the same, but allow GS_* options

-f first channel

overrides the default first channel (0) to facilitate

plotting when there are more than 16 channels (see -n)

-m value

This flag controls the verbosity of the program via

the integer argument "value", which ranges from 3

(virtually silent except for major errors) to -3

(incredibly verbose, of use only to the authors of

the program).  The default is 2.

-n number of channels

When channels are overridden (see also the -f flag)

this tells how many channels to put on the plot. Note

that neither -f nor -n affect the actual fringe fit,

just the plotting thereof.

-p

This is equivalent to "-d psscreen".

-r afile

Puts fourfit into "refringe" mode.  Fourfit refringing

is driven by an A-file input, which overrides any

correlator root files directly specified on the command

line (i.e. the latter are ignored when the -r flag

is specified).  The input A-file, of which there can

be only one, may contain root, corel or fringe lines,

but only the fringe lines are used to determine which

data to process, by baseline and frequency subgroup.

Obviously, the -r flag is inconsistent with the -u

flag, and specifying both is an error.  Note that for

afiles using HP-1000 (version 1) line formats, fourfit

has to pre-check the disk for the existence of the

type 2 files.  The data area is controlled by the

DATADIR environment variable.  It defaults to the

value of $CORDATA.

-s naps

This parameter controls how many AP's are merged

together into each plotting segment. Thus the number

of time points shown in the phase, amplitude, and

validity plots is so controlled. Additionally, the

ph/seg and amp/seg statistics are calculated based

upon the stated number of AP's in each segment.

-t

This flag places fourfit in test mode.  Everything

works as normal, except that the output file is not

written to disk, and the root file is not updated.

This is useful when experimenting with different

fringe-fitting strategies, in order to avoid cluttering

up the disk.

-u

Normally, fourfit processes all data consistent with

the data file list and the control information.  When

this flag is specified, fourfit will also check the

information in the type-2100 record of the root to

see if the data have already been processed by fourfit.

If so, the data in question are skipped.  The "u"

stands for update mode.

-x

This is equivalent to "-d xwindow".

-P pp

Controls polarization processing, where the 2 character

string pp is one of four cross-polarization

states {RR, LL, RL, or LR}

-T trefoffs

If this option is invoked, the fourfit reference

time will be calculated by taking the nominal scan

start time from the ovex file and adding trefoffs

(which is an integer # of seconds) to it.

-X

Forces fourfit to write cross-power spectra into

type 230 records. This option is typically used for

import into AIPS.

ARGUMENTS:  data file list

This mandatory argument or arguments tells fourfit

which data files to process.  The format of the data

file specification is the standard one for all MkIV

software.  You may specify individual filenames,

scan directories which contain data files,

experiment directories, or any combination of

these three.  In the latter two cases,

fourfit will descend the directory tree looking for

data files to add to its internal list of files to

process.  Only root files need be specified.  The

data files actually fringe-searched are determined

by the combination of the root files specified and the

restrictions imposed by the control file or control

parameter list (see below).  In the absence of

such restrictions, all data associated with the

specified root files are processed.

Beware of trying to specify too many files or scan

directories, as it is possible to overflow the Unix

argument list buffer on large experiments.  In such

cases, specify the experiment directory instead.

The postscript rendering is performed by ghostscript

[gs(1)], and GS_* environment variables can be used

to produce a variety of graphics when the "psscreen"

(see -d above).  For example,

GS_OPTIONS=-sOutputFile=abc.png GS_DEVICE=png16 \

fourfit ...

will generate a 16-color PNG plot.

set <control file syntax statements>

This command line argument is optional, and

is intended to permit rapid, temporary modification

of 'fourfit' behaviour without the need to edit the

control file.  The word "set" tells fourfit to expect

additional control information on the rest of the

command line.  The syntax of this control information

is identical to that of the control file (see

detailed description below).  The control file

parser will detect syntax errors and abort if you

do not follow the rules as laid down.  The control

information you specify after the "set" argument

on the command line applies to all data to be

processed, and overrides whatever the control file

itself specified for the parameters in question.

ENVIRONMENT:    DEF_CONTROL, DISPLAY, DATADIR, GS_DEVICE, GS_OPTIONS

DESCRIPTION:

Fourfit is the functional analogue of FRNGE on the HP-1000 systems, and

searches the data represented by the root and corel files for fringes,

writing the results of the search to files of type fringe.  The emphasis

in the design of the program has been speed and flexibility, particularly

with regard to future enhancements.  Algorithmically, the program is

closely modelled on FRNGE, with only minor enhancements as yet, based on

the availablity of greater computing resources.

Below is a preliminary form of a document describing in detail the format and

syntax of the control file:

* Example of current syntax for fourfit control file

* This file makes no semantic sense for a real experiment; rather, it is used

* to illustrate typical command syntaxes.

max_parity 0.001                       * global commands come first

ref_freq  8213.15

x_crc       discard

x_slip_sync keep

y_slip_sync discard

start -10

use_samples true

if station L and f_group X

freqs a+ b c d- e f g h

pc_phases abcdefgh 5 -11 12 38 -56 13.2 11 -29

pc_mode ap_by_ap

pc_freqs abcdefgh 10 10 1010 10 1010 10 1010 1010

if station L and f_group S

pc_phases ijkmn 4.5 -78 39 +12 0

pc_mode normal

if station A

pc_mode multitone

pc_period 30

pc_tonemask abcdefgh 0 0 8 0 4 0 5 0

pc_phases_l abcdefgh 12 13 11 12 24 -6 38 110

pc_phases_r abcdefgh 11 29 14 11 64 -2 44 132

samplers 2 abcd efgh

if (station V or baseline KT) and source 3C279       * parentheses NYI

sb_win -0.5 0.5    mb_win 0.02 0.02  dr_win -1.0E-6 0.5E-6

else

sb_win 0.0 0.0     mb_win 0.02 0.02  dr_win -1.0E-6 0.5E-6

if scan 288-210210

sb_win .37 .37

if scan > 289-132510

skip true

if baseline K? and not scan 250-120000 to 251-235959

switched scan_start

period 30

gates abcfgh  0 30  0 10  15 25     0 10  15 25  0 30

* End of sample control file

SELECTOR KEYWORDS       VALUES

station            1 character

baseline           2 characters

source             string of 1-8 chars

f_group            1 character

scan               UT-epoch (special format), or:

< UT-epoch

> UT-epoch

UT-epoch1 to UT-epoch2  (inclusive time range)

SYNTACTIC KEYWORDS

if

else   (NYI)

and

or

not

()     (NYI)

<>

to

?

ACTION KEYWORDS         VALUES

adhoc_amp          float

adhoc_period       float

adhoc_phase        'sinewave' or 'polynomial'

adhoc_poly         <7 floats/integers (mixture OK)

adhoc_tref         float

dc_block           `true' or `false' (default: false)

dec_offset         float

delay_offs         n char string, followed by n floats

dr_win             2 floats

freqs              n chars

gates              n char string, followed by 2n floats

index              n ints

interpolator       'iterate' or 'simul' (default: iterate)

ionosphere         float

ion_npts           int

ion_win            2 floats

lsb_offset         float

max_parity         float

mb_win             2 floats

optimize_closure   'true' or 'false' (default: false)

passband           2 floats

period             int

pc_phases          n char string, followed by n floats

pc_phases_l        n char string, followed by n floats

pc_phases_r        n char string, followed by n floats

pc_freqs           n char string, followed by n floats

pc_mode            `normal', `ap_by_ap', `manual', or 'multitone'

pc_period          int

pc_tonemask        n char string, followed by n floats

ra_offset          float

ref_freq           float

samplers           int, followed by up to 8 strings

sb_win             2 floats

skip               `true' or `false'

start              integer

station_delay      float

stop               integer

switched           `scan_start' or `each_minute'

t_cohere           float

use_samples        `true' or `false'

x_crc              `keep' or `discard'

x_slip_sync        `keep', `discard', or an integer

y_crc              `keep' or `discard'

y_slip_sync        `keep', `discard', or an integer

KEYWORD SEMANTICS

**scan selection**

skip          if this is set to true in the body of an if_block, then

any scans matching the if conditions will be skipped.

Note: as of 99.2.19 fourfit will not properly skip data

if f_group is specified.

**filtering**    determines whether or not each AP is accepted

max_parity    maximum allowable fraction of bytes in error

x_slip_sync   maximum # of frames w/ re-sync in reference station

y_slip_sync      "    "  "    "   "     "     " remote      "

x_crc         either keep or discard AP if reference time has CRC error

y_crc           "      "   "    "    "  "  remote      "   "   "    "

freqs         controls which frequency channels get included in the fit.

The letters a-p correspond to the order that the frequencies

appear in the root file (assuming 16 channels). With no

suffix, DSB is implied, if both sidebands are present.

A plus suffix denotes USB, a minus is used for LSB.

After 26 channels, the uppercase alphabet is used,

then 10 digits, finally '$' and '%' (i.e. 64 channels).

index         alternate method used to select data channels, based on the

original corel index number. Not as well supported as freqs,

and is current being phased out.

start         start time for data to be included.

stop          stop    "   "    "  "   "    "

Arguments of start and stop are integers with an optional

minus sign. A positive integer is interpreted as an

absolute time in seconds past the hour (of the scan

start time). When a minus sign precedes the start time

it is considered to be a time relative to, and later

than, the scheduled scan start. Similarly, a negative

stop time precedes the scheduled scan stop time, by

the indicated number of seconds.

switched      turns on (frequency) switched mode, which discards some AP's

and keeps others, depending on a gating waveform

period        period in seconds of the gating waveform

gates         for each freq. channel, the starting delay and duration, in

seconds, of the gating waveform

passband      lower and upper bounds (in MHz) of the spectral passband of

data to be accepted, specified as RF frequencies. If the

lower bound is greater than the upper bound, the range

wraps around -- allowing a band in the middle to be

excluded.

dc_block      if set to true, zero out lowest cross-power spectral

channel; useful for suppressing DC bias

**search**       control the fringe-searching process

sb_win        single band delay search window bounds, in us

mb_win        multiband     "     "      "       "     "  "; if the upper

bound (2nd number) is less than the lower bound (1st

number), then fourfit performs a "wrap-around" search, in

order to handle the case of a delay near to the multiband

(semi-) ambiguity.

dr_win        delay_rate search window bounds, in us/s

ion_npts      number of evaluation points in ionospheric coarse search

ion_win       ionospheric coarse search window in TEC units

ra_offset     apply right asc.offset (asec) to re-center search windows

dec_offset      "   declination  "   (asec) "      "        "      "

interpolator  selects method of fit interpolation. Classically, an

iterative search has been done over sbd, mbd, drate, one

dimension at a time, for 3 cycles. The simultaneous mode

constructs a 5x5x5 cube of data points and does a 3D

quintic interpolation.

**corrections**  apply corrections to the data, either before or after fit

pc_mode   specify phase_cal mode:

- normal (model linear in time is extracted from the data)

- manual (specified totally by the user)

- ap_by_ap (phase cal is extracted independently for each AP)

DEPRECATED: use normal or manual with pc_period 1 or more

- multitone (all tones in band are coherently fit, and phase

is extrapolated to the center of the band).

pc_phases phase_cal phases in deg, for each of the listed freq channels;

these offset phases are added to the underlying model, as

specified by pc_mode, above. If 2 polarizations are present,

the same values are applied to both pols.

pc_phases_l specified in same manner as pc_phases, but the tone phases

so specified are applied only to the first pol (L, X, or H)

pc_phases_r specified in same manner as pc_phases, but the tone phases

so specified are applied only to the second pol (R, Y, or V)

pc_freqs  phase cal tone frequencies in KHz, for each of the listed

freq channels iff not in range -64..64. Inside of this

range, the value is interpreted as a tone #, with 1 being

the 1st USB tone, 2 being the 2nd USB tone, etc. Negative

tone #'s are used for LSB tones.

pc_period in multitone mode (only), the phase can be estimated

and applied over each pc_period ap's, thus removing slopes

or other drifts in pcal (default is 9999)

pc_tonemask - in multitone mode (only):

The values for pc_tonemask form a bit-masked map of which

tones to *exclude* for this frequency channel. Thus 1

excludes the lowest tone, 2 the next lower tone, 4 the 3rd

lowest tone, etc. A value of 5, for example, would exclude

the lowest and the 3rd lowest tones (perhaps 10 KHz and 2.01

MHz).

lsb_offset additive phase in degrees, for the LSB relative to the USB;

often necessary when correlating VLBA data against Mk 3

ref_freq  specifies a frequency in MHz at which the phase delay

is determined (default is total LO of first frequency)

adhoc_phase specify mode of ad hoc phase corrections. No corrections

are made if this isn't present, or is set to false.

adhoc_period  For ad hoc sinewave model; the period in integer seconds.

adhoc_amp      "   "  "     "       "    amplitude in degrees of phase.

adhoc_tref    For both ad hoc phase models; the reference time in seconds

past the most recent hour.

adhoc_poly For the ad hoc phase polynomial model; From 1-6 coefficients

describing a power-series model in time. (deg/sec^n)

use_samples   If true, use the sampler statistics (aka state counts) to

normalize the raw correlation sums to the equivalent analog

correlation.

ionosphere specified per station, in TEC (10^16/m^2) units

t_cohere  coherence time used in fringe fit (default is infinite)

delay_offs delay offsets (ns) to be applied to each of the listed freq

channels. This correction is made prefit, similar to pcal.

samplers  the number of samplers, followed by the freq channel

identifiers of channels that share a common sampler are

grouped together in strings. In multitone mode only, the

averaged tone-derived differential delays are applied to

all channels sharing a sampler.

optimize_closure modifies fine fringe search so as to minimize the

contribution of non-closing delay errors to the closure phase;

can result in poorer single-baseline fits

station_delay a priori guess at the delay from the pcal injection point

down to the digitizers (ns).

SPECIAL KEYWORD VALUES

?         wild card character

keep      32767

discard       0

true          1

false         0

SPECIAL FORMATS

UT-epochs:  UT-epochs are expressed in the format ddd-hhmmss, where all 10

characters are necessary, including leading 0's if

appropriate.  This format will match that of a scan directory,

if the UT-epoch that is being specified is an actual scan time.

GENERAL GUIDELINES

1) White space is ignored; i.e., multiple spaces and line feeds all

collapse to a single space.

2) Multiple commands per line are fine.

3) Comments: anything from an asterisk through the end of the line

is ignored.

4) Nested ifs are not allowed (or necessary). Nested parentheses in

an if condition are fine (NYI).

As of 94.1.16, parentheses are not supported. The logical operators,

in decreasing order of precedence are (not, and, or).

5) Wildcard "?" matches any single character for f_group, station, or

baseline, any string (of up to 8 characters) for source, and any

time-value for scan.

6) Phase cal and delay offsets are treated station by station.

7) Only freqs that are chosen for both stations in a baseline are

present in the fit.

8) If multiple if-blocks match a particular passes' choice of baseline,

f_group, source, and scan criteria, then the later values assigned

to each parameter overwrite the earlier ones.